## Sheet1
Acme, Inc.
Company |  | fweff |  | r
Kind Attendee |  | wefwef
Email |  | csa@gmail.com
Mobile |  | 11223344556677
|  |  |  | ref |  | 2022-09-02-fweff-265606988
Subject |  | fefewf
|  |  |  | date |  | Fri, 02 Sep 2022 16:49:25 GMT
[6 empty] | SUPPLY |  | INSTALLATION
S.N | MAKE | MODEL | ITEMS DESCRIPTION | QTY | UOM | RATE | TOTAL | RATE | TOTAL | REMARKS
A | FLAMENCOETCH |  | FT HARDWARE
1 | Flamenco Tech | FT-DB-OCCUSENZ-D-4Y | DB -Spazio Desk Occupancy Sensor with 4 Year battery life | 34 | Per Device | 9193 | 312562 | 8750 | 297500
2 | Flamenco Tech | FT-DB-OCCUSENZ-PIXEL-ZB | OccuSenZ Pixel Sensor ZB variant | 81 | Per Device | 8001 | 648081 | 8750 | 708750
3 | Flamenco Tech | FT-DB-OCCUSENZ-PC-ZB | OccuSenZ- PC People Count Sensor ZB variant | 34 | Per Device | 8001 | 272034 | 8750 | 297500
4 | Flamenco Tech | FT-DB-ENVISENZ-RRH-ZB | EnviSenZ Rest Room Sensor ZB variant T+Rh, TVOC, Odour, Wetfloor detection sensor | 34 | Per Device | 9193 | 312562 | 8750 | 297500
B | FLAMENCOETCH |  | ACTIVE HARDWARE
1 | HP/Cisco/TP-link/D-link | - | 24 Ports RJ-45 10/100/1000 Mbps with + 2SFP ports Non PoE | 3 | Per Device | 46857 | 140571 | 8033 | 24099
C | FLAMENCOETCH |  | FT SOFTWARE
1 | Netconnect/Molex/Dlink/CIS Fiber | - | 4-pair, Cat6 UTP Cable, roll of 305m, Grey Color - LSZH | 3 | Per Box | 13120 | 39360 | 4084 | 12252
2 | Netconnect/Molex/Dlink/CIS Fiber | - | 1U-24 port Straight loaded jack panel | 1 | Per Device | 8703 | 8703 | 1608 | 1608
D | FLAMENCOETCH |  | FT SOFTWARE
1 | Greystone/Dwyer | - | Wall Mounted Combined T+Rh Transmitter | 2 | Per Device | 11723 | 23446 | 738 | 1476
2 | Greystone/Dwyer | - | Air DP Switch with required weldolet / couplings | 1 | Per Device | 2069 | 2069 | 738 | 738
E | FLAMENCOETCH |  | FT SOFTWARE
1 | Deepanjan/Caliplast/Technoflex |  | 2Cx1.0 sq. mm Unscreened, Annealed Bare Copper multistranded conductor, Armoured Cable | 2 | Per Meter | 75 | 150 | 40 | 80
2 | Deepanjan/Caliplast/Technoflex |  | 1Px1.0 sq. mm Screened, Annealed Bare Copper multistranded conductor, Armoured Cable | 1 | Per Meter | 75 | 75 | 40 | 40
F | FLAMENCOETCH |  | FT SOFTWARE
1 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | Perforated Cable Tray 200mmx 50mm without cover | 2 | Per Meter | 603 | 1206 | 263 | 526
2 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 300 x 75 x 2 mm | 2 | Per Meter | 1005 | 2010 | 460 | 920
3 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 450 x 75 x 2 mm | 2 | Per Meter | 1608 | 3216 | 592 | 1184
4 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 600 x 75 x 2 mm | 1 | Per Meter | 2009 | 2009 | 723 | 723
5 | Magneto | MCAC-A | Air Sanitization Device for AHU - 2400 CFM, 6 TR | 1 | Per Device | 90786 | 90786 | 0 | 0
6 | Magneto | MCAC-U | Air Sanitization Device for CSU - 2800 CFM, 7TR | 1 | Per Device | 135687 | 135687 | 0 | 0
G | FLAMENCOETCH |  | FT SOFTWARE
1 | . | . | LMS software/3D software | 2 | Per Device | 153000 | 306000 | 150000 | 300000
H | FLAMENCOETCH |  | FT SOFTWARE
1 | - | - | Material handeling charges at site | 1 | Per Lot |  | 0 | 466667 | 466667
2 | - | - | House Keeeping Charge | 1 | Per Lot |  | 0 | 233334 | 233334
3 | - | - | Documentation Charges | 1 | Per Lot |  | 0 | 116667 | 116667
|  |  | FT Installation | [6 empty] | REMARKS
I | FlamencoTech |  | Installation, Commissioning, Testing, Training (Train the Trainer), Handover, Documentation & Project Management | 1 | Lot |  |  | 2299500 | 2299500
[7 empty] | #NAME? |  | #NAME?
J | FLAMENCOETCH |  | FT SOFTWARE
1 | Flamencotech | DB V3.3 | Kiosk Screen License | 44 | Per Item | 8823 | 388212 | 418 | 18392
2 | Flamencotech | DB V3.3 | Employee One Mobile User License | 54 | Per Item | 464 | 25056 | 22 | 1188
3 | Flamencotech | DB V3.3 | Employee Roastering Per User License | 54 | Per Item | 515 | 27810 | 24 | 1296
4 | Flamencotech | DB V3.3 | License for Space Planning | 22 | Per Item | 412 | 9064 | 20 | 440
5 | Flamencotech | DB V3.3 | License for Desk Utilization | 21 | Per Item | 1236 | 25956 | 59 | 1239
6 | Flamencotech | DB V3.3 | License for Desks Booking | 43 | Per Item | 1236 | 53148 | 59 | 2537
7 | Flamencotech | DB V3.3 | Meeting Room (Occupancy) | 78 | Per Item | 4781 | 372918 | 226 | 17628
8 | Flamencotech | DB V3.3 | Meeting Room (People count) | 78 | Per Item | 4781 | 372918 | 226 | 17628
9 | Flamencotech | DB V3.3 | Meeting Room (Booking) | 78 | Per Item | 4781 | 372918 | 226 | 17628
10 | Flamencotech | DB V3.3 | Way finding Point of Interest | 250 | Per Item | 1030 | 257500 | 49 | 12250
11 | Flamencotech | DB V3.3 | Feedback Point of Interest | 250 | Per Item | 1030 | 257500 | 49 | 12250
12 | Flamencotech | DB V3.3 | Restroom License (People Count) | 34 | Per Item | 4878 | 165852 | 231 | 7854
13 | Flamencotech | DB V3.3 | Restroom License (Wet Floor Detection) | 34 | Per Item | 4878 | 165852 | 231 | 7854
14 | Flamencotech | DB V3.3 | Restroom License (Odour) | 34 | Per Item | 2439 | 82926 | 115 | 3910
15 | Flamencotech | DB V3.3 | Automate License | 34 | Per Item | 475345 | 16161730 | 466 | 15844
16 | Flamencotech | DB V3.3 | Customization Effort - PSO | 1 | Per Item | 548475 | 548475 | 731 | 731
[7 empty] | #NAME? |  | #NAME?