## Sheet1
Acme, Inc.
Company |  | gfdg |  | r
Kind Attendee |  | gfdgdfg
Email |  | fsd@gmail.com
Mobile |  | 1122334455
|  |  |  | ref |  | 2022-09-01-gfdg-37094945
Subject |  | sdsd
|  |  |  | date |  | Thu, 01 Sep 2022 17:45:14 GMT
[6 empty] | SUPPLY |  | INSTALLATION
S.N | MAKE | MODEL | ITEMS DESCRIPTION | QTY | UOM | RATE | TOTAL | RATE | TOTAL | REMARKS
A | FLAMENCOETCH |  | FT HARDWARE
1 | Flamenco Tech | FT-DB-OCCUSENZ-D-4Y | DB -Spazio Desk Occupancy Sensor with 4 Year battery life | 4 | Per Device | 9193 | 36772 | 8750 | 35000
2 | Flamenco Tech | FT-DB-OCCUSENZ-PIXEL-ZB | OccuSenZ Pixel Sensor ZB variant | 5 | Per Device | 8001 | 40005 | 8750 | 43750
3 | Flamenco Tech | FT-DB-OCCUSENZ-PC-ZB | OccuSenZ- PC People Count Sensor ZB variant | 34 | Per Device | 8001 | 272034 | 8750 | 297500
4 | Flamenco Tech | FT-DB-ENVISENZ-RRH-ZB | EnviSenZ Rest Room Sensor ZB variant T+Rh, TVOC, Odour, Wetfloor detection sensor | 34 | Per Device | 9193 | 312562 | 8750 | 297500
B | FLAMENCOETCH |  | ACTIVE HARDWARE
1 | HP/Cisco/TP-link/D-link | - | 24 Ports RJ-45 10/100/1000 Mbps with + 2SFP ports Non PoE | 3 | Per Device | 46857 | 140571 | 8033 | 24099
2 | HP/Cisco/TP-link/D-link | - | 24 Ports RJ-45 10/100/1000 Mbps with + 2SFP ports PoE + | 3 | Per Device | 87019 | 261057 | 8033 | 24099
C | FLAMENCOETCH |  | FIBER HARDWARE
1 | Netconnect/Molex/Dlink/CIS Fiber | - | 6 core Single Mode Armoured Optic Fibre Cable | 2 | Per Meter | 24098 | 48196 | 24098 | 48196
2 | Netconnect/Molex/Dlink/CIS Fiber | - | Single mode SC-LC type pigtails with splicing | 2 | Per Device | 24098 | 48196 | 24098 | 48196
D | FLAMENCOETCH |  | FT SOFTWARE
1 | Netconnect/Molex/Dlink/CIS Fiber | - | 4-pair, Cat6 UTP Cable, roll of 305m, Grey Color - LSZH | 2 | Per Box | 13120 | 26240 | 4084 | 8168
2 | Netconnect/Molex/Dlink/CIS Fiber | - | 1U-24 port Straight unloaded jack panel | 2 | Per Device | 2410 | 4820 | 670 | 1340
E | FLAMENCOETCH |  | FT SOFTWARE
1 |  | FS32 | EasyIO FS32 controller | 1 | Per Device | 99284 | 99284 | 8033 | 8033
2 |  | FS20 | EasyIO FS20 controller | 1 | Per Device | 82735 | 82735 | 8033 | 8033
3 |  | FW28 | EasyIO FW28 controller | 1 | Per Device | 58260 | 58260 | 8033 | 8033
F | FLAMENCOETCH |  | FT SOFTWARE
1 | Greystone/Dwyer | - | Wall Mounted Combined T+Rh Transmitter | 1 | Per Device | 11723 | 11723 | 738 | 738
2 | Greystone/Dwyer | - | Air DP Switch with required weldolet / couplings | 2 | Per Device | 2069 | 4138 | 738 | 1476
3 | Greystone/Dwyer | - | Duct Type Temperature Sensor | 3 | Per Device | 1932 | 5796 | 738 | 2214
G | FLAMENCOETCH |  | FT SOFTWARE
1 | Deepanjan/Caliplast/Technoflex |  | 2Cx1.0 sq. mm Unscreened, Annealed Bare Copper multistranded conductor, Armoured Cable | 3 | Per Meter | 75 | 225 | 40 | 120
2 | Deepanjan/Caliplast/Technoflex |  | 1Px1.0 sq. mm Screened, Annealed Bare Copper multistranded conductor, Armoured Cable | 2 | Per Meter | 75 | 150 | 40 | 80
3 | Deepanjan/Caliplast/Technoflex |  | 4Cx1.0 sq. mm Unscreened, Annealed Bare Copper multistranded conductor, Armoured Cable | 1 | Per Meter | 118 | 118 | 40 | 40
H | FLAMENCOETCH |  | FT SOFTWARE
1 | AKG / DIAMOND / BEC |  | 20 mm 1.6 mm thick rigid MS conduits | 1 | Per Meter | 149 | 149 | 53 | 53
2 | AKG / DIAMOND / BEC |  | 25 mm 1.6 mm thick rigid MS conduits | 1 | Per Meter | 149 | 149 | 53 | 53
3 | AKG / DIAMOND / BEC |  | 32 mm 1.6 mm thick rigid MS conduits | 1 | Per Meter | 202 | 202 | 60 | 60
4 | AKG / DIAMOND / BEC /Precision |  | 20 mm 2 mm thick rigid PVC conduits, Medium Type, FRLS | 2 | Per Meter | 55 | 110 | 40 | 80
5 | AKG / DIAMOND / BEC /Precision |  | 25 mm 2 mm thick rigid PVC conduits, Medium Type, FRLS | 2 | Per Meter | 55 | 110 | 40 | 80
I | FLAMENCOETCH |  | FT SOFTWARE
1 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | Perforated Cable Tray 200mmx 50mm without cover | 1 | Per Meter | 603 | 603 | 263 | 263
2 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 300 x 75 x 2 mm | 1 | Per Meter | 1005 | 1005 | 460 | 460
3 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 450 x 75 x 2 mm | 1 | Per Meter | 1608 | 1608 | 592 | 592
4 | PROFAB / ADARSH / ASIAN / ADITYA STEEL |  | 600 x 75 x 2 mm | 3 | Per Meter | 2009 | 6027 | 723 | 2169
5 | Magneto | MCAC-A | Air Sanitization Device for AHU - 2400 CFM, 6 TR | 3 | Per Device | 90786 | 272358 | 0 | 0
J | FLAMENCOETCH |  | FT SOFTWARE
1 | . | . | LMS software/3D software | 3 | Per Device | 46857 | 140571 | 8033 | 24099
K | FLAMENCOETCH |  | FT SOFTWARE
1 | - | - | Store for material - upto 1500 Sqft | 2 | Per Lot |  | 0 | 175000 | 350000
2 | - | - | Material handeling charges at site | 2 | Per Lot |  | 0 | 466667 | 933334
3 | - | - | House Keeeping Charge | 3 | Per Lot |  | 0 | 233334 | 700002
4 | - | - | Documentation Charges | 3 | Per Lot |  | 0 | 116667 | 350001
5 | - | - | Travel & Stay Charges | 4 | Per Lot |  | 0 | 583334 | 2333336
6 | Flamenco Tech | - | Safety Officer | 4 | Per Month |  | 0 | 51334 | 205336
7 | Flamenco Tech | - | Safety Manager | 4 | Per Month |  | 0 | 81667 | 326668
|  |  | FT Installation | [6 empty] | REMARKS
L | FlamencoTech |  | Installation, Commissioning, Testing, Training (Train the Trainer), Handover, Documentation & Project Management | 1 | Lot |  |  | 2448000 | 2448000
[7 empty] | #NAME? |  | #NAME?
M | FLAMENCOETCH |  | FT SOFTWARE
1 | Flamencotech | DB V3.3 | Kiosk Screen License | 3 | Per Item | 11588 | 34764 | 549 | 1647
2 | Flamencotech | DB V3.3 | Employee One Mobile User License | 43 | Per Item | 464 | 19952 | 22 | 946
3 | Flamencotech | DB V3.3 | Employee Roastering Per User License | 43 | Per Item | 515 | 22145 | 24 | 1032
4 | Flamencotech | DB V3.3 | License for Desk Utilization | 4 | Per Item | 1545 | 6180 | 73 | 292
5 | Flamencotech | DB V3.3 | License for Desks Booking | 4 | Per Item | 1545 | 6180 | 73 | 292
6 | Flamencotech | DB V3.3 | Meeting Room (Occupancy) | 4 | Per Item | 6180 | 24720 | 293 | 1172
7 | Flamencotech | DB V3.3 | Meeting Room (People count) | 4 | Per Item | 6180 | 24720 | 293 | 1172
8 | Flamencotech | DB V3.3 | Meeting Room (Booking) | 4 | Per Item | 6180 | 24720 | 293 | 1172
9 | Flamencotech | DB V3.3 | Way finding Point of Interest | 250 | Per Item | 1030 | 257500 | 49 | 12250
10 | Flamencotech | DB V3.3 | Feedback Point of Interest | 250 | Per Item | 1030 | 257500 | 49 | 12250
11 | Flamencotech | DB V3.3 | Restroom License (People Count) | 34 | Per Item | 4878 | 165852 | 231 | 7854
12 | Flamencotech | DB V3.3 | Restroom License (Wet Floor Detection) | 34 | Per Item | 4878 | 165852 | 231 | 7854
13 | Flamencotech | DB V3.3 | Restroom License (Odour) | 34 | Per Item | 2439 | 82926 | 115 | 3910
14 | Flamencotech | DB V3.3 | Automate License | 3 | Per Item | 475345 | 1426035 | 5282 | 15846
15 | Flamencotech | DB V3.3 | Customization Effort - PSO | 1 | Per Item | 548475 | 548475 | 731 | 731
[7 empty] | #NAME? |  | #NAME?