## Sheet1
Company: |  | Bosch |  | r
Kind Attendee: |  | Aarav
Email: |  | boschltd@gmail.com
Mobile: |  | 8956123653
|  |  |  | Ref No: |  | 9_21_2022,_2:08:50_PM-Bosch-1327710894
Subject: |  | FT Quote
|  |  |  | Date: |  | Wed, 21 Sep 2022 08:39:42 GMT
[6 empty] | SUPPLY |  | INSTALLATION
S.N | MAKE | MODEL | ITEMS DESCRIPTION | QTY | UOM | RATE | TOTAL | RATE | TOTAL | REMARKS
A | Flamenco Tech |  | FT HARDWARE
1 | Flamenco Tech | FT-DB-OCCUSENZ-D-2Y | DB -Spazio Desk Occupancy Sensor with 2 Year battery life | 100 | Per Device | 4047 | 404700 | 196 | 19600
2 | Flamenco Tech | FT-DB-OCCUSENZ-MR | DB -Spazio Meeting Room Occupancy Sensor (ZigBee) | 10 | Per Device | 24822 | 248220 | 376 | 3760
3 | Flamenco Tech | FT-DB-OCCUSENZ-PIXEL-IP | OccuSenZ Pixel Sensor IP variant | 13 | Per Device | 54239 | 705107 | 2250 | 29250
INSTALLATION
B | Flamenco Tech |  | Installation, Commissioning, Testing, Training (Train the Trainer), Handover, Documentation & Project Management | 1 | Lot |  |  | 259031 | 259031
|  |  | TOTAL AMOUNT |  |  |  | #NAME? |  | #NAME?
S.N | MAKE | MODEL | MONTHLY RECURRING CHARGES | QTY | UOM | RATE | TOTAL PER MONTH | TOTAL PER ANNUM |  | REMARKS
C | Flamenco Tech |  | SOFTWARE
1 | Flamenco Tech | DB V4.4 | Kiosk Screen License | 10 | Per Item | 548 | 5480 | 65760
2 | Flamenco Tech | DB V4.4 | Employee One Mobile User License | 100 | Per Item | 22 | 2200 | 26400
3 | Flamenco Tech | DB V4.4 | Employee Roastering Per User License | 100 | Per Item | 24 | 2400 | 28800
4 | Flamenco Tech | DB V4.4 | License for Space Planning | 50 | Per Item | 20 | 1000 | 12000
5 | Flamenco Tech | DB V4.4 | License for Desk Utilization | 100 | Per Item | 59 | 5900 | 70800
6 | Flamenco Tech | DB V4.4 | License for Desks Booking | 50 | Per Item | 59 | 2950 | 35400
7 | Flamenco Tech | DB V4.4 | Meeting Room (Occupancy) | 10 | Per Item | 366 | 3660 | 43920
8 | Flamenco Tech | DB V4.4 | Meeting Room (Booking) | 10 | Per Item | 366 | 3660 | 43920
|  |  | TOTAL AMOUNT |  |  |  | #NAME? | #NAME?
Terms and Conditions :
1 | Payment Terms -
Hardware - 100% Advance with PO
Monthly Charges - 100% Annual in advance
Installation - 50% Advance, 30% on completion & 20% on Sign off
2 | Hardware rates are Ex-works Bangalore & it does not include any Freight charges, transit insurance Import duties, clearance charges, etc.
3 | GST and Government taxes extra as applicable.
4 | Offer valid for 30 days from the date of quotation.
5 | Delivery Period for FlamencoTech hardware - 16 - 24 weeks
Delivery Period for Air Santization Device - 10-12 Week
6 | Only Remote Support services are considered
7 | Cloud server augementation may required based on the final scope of the solution.
8 | The contract period for monthly recurring charges will be 3 years.
9 | All Flamenco Tech hardware are supplied with 13 month warranty from the date of supply or 12 month warranty from the date of installation, which ever is earlier.
10 | Air Santization Hardware - The product is warranted to be free from defects in material and workmanship for a period of 12 months from the date of supply with exclusion of servicing and cleaning..
Warranty Void - I- Does not cover consequential loss or damages.
II- Is Void if any repair are carried out by unauthorized person
III- Failure of equipment because of electrical fault or unstable power supply
11 | Any type of ladders, plumbing, scaffolding or other similar associated works related to False Ceiling, false ceiling access panels, ceiling wooden frames for grills and diffusers, painting or matching of wall texture after any work will be in customer scope.
12 | Protected storage for the tools and equipment or any theft from site will be buyers Responsibility.
13 | Network Infrastructure like LAN Cabling, Network Active switches (POE or NPOE), Racks, etc.to be provided by customer
14 | Firewalls, Internet connection to be arranged by the customer for Gateway
15 | UPS power point to be provided by the customer as required
16 | Any Electrical, Carpentry Civil work and Repainting or cleaning of Attic spaces/Air conditioning system will be in client scope
17 | All hardware quantities are arrived based on the shared layouts. Final quantity can be arrived based on detailed site study.
18 | Travel, Stay, Per Diem charges will be extra at actuals
19 | 5 Admin Logins will be available for reports & dashboards, additional users if required then it will be charged extra
20 | The charges does not include any Mobilization (Store & Site Office) , Other Expenses (Power, house keeping, BG, insurance, compliance etc.)
21 | Installation charges may vary based on project specific details, site condition & work timings
22 | Kiosk hardware charges will be extra.
Assumptions :
1 | Integration with Third Party application is not part of the proposal, but it can be discussed and based on integration feasibility additional charges will be shared.
2 | Integration with Third Party application is not part of the proposal, but it can be discussed and based on integration feasibility additional charges will be shared.
3 | Application web link to be white listed by the customer to access the reports on their local machine
4 | Customer to provide the Data collector machine with below configuration
Intel I5 3.0 GHZ CPU, Quad Core processor 8 GB RAM,
500 GB HDD, MS Windows 10 pro OS, 4 No.s X USB v2.0 and 2 X USB v3.0
Full HD graphics, HDMI connectivity, Antivirus
5 | Installation of Air Sanitization devices to be arranged by customer through their existing HVAC vendor partner
6 | Sharing of IAQ sensor data to the existing BMS system is possbile with an additional protocol hardware which will be charged extra